HOSPITAL BEDS

| MINIMUM SPECIFICATION REQUIRED | SPECIFICATION OFFERED |
| --- | --- |
| HOSPITAL BEDS | THE KosmoCare RX907 HOSPITAL BEDS 2-Way Adjustable Hospital Bed with Side Rails for Added User Safety Fowler Bed for Home Care Medical Bed for Home Patients & Elderly SPECIFICATIONS 2 CLASSIC FUNCTIONS: The bed for bedridden patients elevates 80 degrees and supports leg elevation up to 40 degrees. With these functions, the patient can be positioned in Fowler’s, semi-Fowler’s, high-Fowler’s, and standard chair positions. Fowler Bed with mechanically operated back rest and knee rest by super-smooth crank mechanism. ALUMINUM COLLAPSIBLE GUARD RAILS - Easily swing the bed rail down and out of the way when not in use. Simply, press the red button to collapse the bed railing. This is very convenient to the users wanting to get out of the bed. The sturdy frame ensures a weight capacity of upto 175 kgs. COMPATIBLE WITH ALL HOSPITAL BED MATTRESSES: Any standard size hospital mattress will fit this frame. Whether you want to use a foam, spring or alternating pressure air mattress or specialized CNC cut anti-decubitus foam mattress, this frame will be perfect. 5" SWIVEL CASTORS : The Hospital Bed for patients features 5 inch aluminum caster wheels and brake pedals, which allow for ease of movement, even on carpeted surfaces. These features allow the bed to be easily moved on various surfaces within your home or facility. DETACHABLE ABS HEAD & FOOT BOARDS: The head rest & foot rest offered comes in durable ABS material finish and provides for enhanced interior safety support as well as add to the decor needs of the surrounding decor. The bed is also suitable for patients who need CPR as the foot/head board is detachable. |
| PLEASE REFER TO BROCHURES ATTACHED FOR DETAILED SPECIFICATION |  |

EXAMINATION TABLES

| MINIMUM SPECIFICATION REQUIRED | SPECIFICATION OFFERED |
| --- | --- |
| EXAMINATION TABLES SPECIFICATIONS | THE S. K. Scientific & Surgical SKSS864A EXAMINATION TABLES is Ideal to support patient during medical examination. SPECIFICATIONS Overall Dimension 180(L) x 60(W) x 76(H) Cm. Height Adjustable 30 Inch (in) Features: High strength, Adjustable backrest, Anti-corrosive finish, Rigid structure Thickness: Top is covered with 50 mm thick water proof Mattress. Number Of Wheels: 4 |
| PLEASE REFER TO BROCHURES ATTACHED FOR DETAILED SPECIFICATION |  |